[image: image1.jpg]


[image: image2.png]



( Screw the unit base to mounting surface.





( Connect your panel wires to the terminal block as per the instructions, dependant on whether you want 4-wire, supervised or 2 in series.





( Select your resistors by moving the jumpers in line with instructions. Select Multi if you are fitting more than 1 PA to a zone


( Carefully fit the lid to the central post on the base


( Ensure no snagging occurs.


( Operation:- Push End button inwards. The microswitch will only operate when both buttons are pushed simultaneously.


( Reset :- by using the reset key (supplied)





�
Model�
�
�
PA2E�
�
Grade 3 Class II�
�
●�
�
�
Microswitch Activation�
�
●�
�
�
Tactile Switch Tamper�
�
●�
�
�
Metal Reset Key�
�
●�
�
�
Spare Keys to Order�
�
●�
�
�
5  Terminals�
�
●�
�
�
End Knock-out�
�
●�
�
�
Back Knock-out�
�
●�
�
�
2 Side Knock-outs�
�
●�
�
�
�
�
�
�
�
Finishes�
Plastic�
Brass�
St/Steel�
�
                                        �
PA2EWR�
PA2EBR�
PA2ESR�
�
Installation Instructions�
●�
●�
●�
�
�
Length�
Width�
Height�
�
Dimensions�
80�
62�
28mm�
�
�
�
�
�
�
Selectable


Resistor Values�
EOL�
Alarm�
�
�
Ademco, Honeywell�
1K�
1K�
�
�
Castle, Menvier, Pyronix, Texecom, Scantronic�
2K2�
4K7�
�
�
Aritech                               �
4k7�
4K7�
�
�
DSC�
5K6�
5K6�
�
�
Gardtec�
4K7�
6K8�
�
�
Guardall�
8K2�
8K2�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�
�






Description:


Grade 3 Class II


Double End Push Panic Button. With Selectable Resistors


Manufactured to BS EN50131


Materials:


ABS 


Temperature Range:


-40oC to +50oC


Tampers:


Tactile Switch Tamper


Switching Current:


500mA Max DC


Voltage Range:


15v DC Max


Body Colours:


White, PA2EWR


Black (S/Steel Cover) PA2ESR


Grey if requested





Surface Finishes:


Plastic PA2EWR


Brass PA2EBR


Stainless Steel. PA2ESR





All dimensions in mm


Do not scale





Drawing No:	PA2E Range 


		Panic Buttons


Drawn:		Chris Moorman


Date:		11/03/10





Knight


Fire & Security Products Ltd





Unit 84 Seawall Road Ind. Estate


Cardiff  UK CF24 5TH


Tel:	0 (00 44) 29 20 48 81 29


Fax:	0 (00 44) 29 20 48 91 32





© � HYPERLINK "http://www.knightfireandsecurity.com/" ��Knight Fire & Security Products Ltd�


All cases of ™ Infringement will be pursued.





�





Selectable      Resistors Here





PA2 Panic Button Inside





Multi contact jumper





Connect Panel Wires Here








